## Sheet1
ERICSSON PRE PHOTO CHECK LIST
Instructions for use: This document is to be completed and uploaded as a deliverable into Site Handler along with the accompanying photos.
If photos are required to show additional details label as in the following example: 88.1_SiteID_Cable_rack 88.2_SiteID_Cable rack 93.1_SiteID_Area_under_tower.
All photos MUST BE date/time stamped.
Yes = X
| Naming configuration | Post-Photos Requirements | NA = NA
ALPHA SECTOR
1 | 001_SiteID_Alpha_tower | Full view of tower/side of building
2 | 002_SiteID_Alpha_ant | Front view of antenna face (show full ant array)
3 | 003_SiteID_Alpha_ LOS | Line of site (back of ant to show direction).
4 | 004_SiteID_ Alpha_ant_front | New mounted antenna or ant worked on (front view)
5 | 005_SiteID_Alpha_ ant_w/connector | Antenna with connector (show weatherproofing)
6 | 006_SiteID_Alpha_ ant Model/ Serial Number | Capture Antenna Model and Serial Number
7 | 007_SiteID_Alpha_ RCU | RET RCU (attached to antenna)
8 | 008_SiteID_Alpha_ RCU Model / Serial Number | RET RCU Model and Serial number
9 | 009_SiteID_Alpha_ mech_DT | Mech Down tilt Measurement (Smart level on back and side of Ant)
10 | 010_SiteID_Alpha_top_jumper | Top jumper (show last support/weather proofing/color coding)
11 | 011_SiteID_Alpha_TMA | TMA (show jumpers connected)
12 | 012_SiteID_Alpha_TMA _grounding | TMA (show grounding)
13 | 013_SiteID_Alpha_top_diplexer | Top diplexer (show jumper connected)
14 | 014_SiteID_Alpha_diplexer_ground | Diplexer grounding (show lead attached to buss bar)
15 | 015_SiteID_Alpha_hard_line | Hard-line (show /weather proofing/color coding)
16 | 016_SiteID_Alpha_top_buss_bar | Top ground bar (point out new grounds)
17 | 017_SiteID_Alpha_RET_coax_ground | RET coax ground
18 | 018_SiteID_Alpha_RET ground lead | RET ground lead (show RET ground lead attached to buss bar, two hole lugs)
19 | 019_SiteID_Alpha_top_coax_grounds | Top coax grounds
| Naming configuration | BETA SECTOR
20 | 020_SiteID_Beta_tower | Full view of tower/side of building
21 | 021_SiteID_Beta_ant | Front view of antenna face (show full ant array)
22 | 022_SiteID_Beta_ LOS | Line of site (back of ant to show direction).
23 | 023_SiteID_ Beta_ant_front | New mounted antenna or ant worked on (front view)
24 | 024_SiteID_Beta_ ant_w/connector | Antenna with connector (show weatherproofing)
25 | 025_SiteID_Beta_ ant Model/ Serial Number | Capture Antenna Model and Serial Number
26 | 026_SiteID_Beta_ RCU | RET RCU (attached to antenna)
27 | 027_SiteID_Beta_ RCU Model / Serial Number | RET RCU Model and Serial number
28 | 028_SiteID_Beta_ mech_DT | Mech Down tilt Measurement (Smart level on back and side of Ant)
29 | 029_SiteID_Beta_top_jumper | Top jumper (show last support/weather proofing/color coding)
30 | 030_SiteID_Beta_TMA | TMA (show jumpers connected)
31 | 031_SiteID_Beta_TMA_grounding | TMA (show grounding)
32 | 032_SiteID_Beta_Top_diplexer | Top diplexer (show jumper connected)
33 | 033_SiteID_Beta_diplexer_ground | Diplexer grounding (show lead attached to buss bar)
34 | 034_SiteID_Beta_hard_line | Hard-line (weather proofing/color coding)
35 | 035_SiteID_Beta_Top_Buss_Bar | Top ground bar (point out new grounds)
36 | 036_SiteID_Beta_RET_coax_ground | RET coax ground
37 | 037_SiteID_Beta_RET ground Lead | RET ground lead (show RET ground lead attached to buss bar, two hole lugs)
38 | 038_SiteID_Beta_coax_grounds | Top coax grounds
| Naming configuration | CHARLIE SECTOR
39 | 039_SiteID_Charlie_tower | Full view of tower/side of building
40 | 040_SiteID_Charlie_ant | Front view of antenna face (show full ant array)
41 | 041_SiteID_Charlie_ LOS | Line of site (back of ant to show direction).
42 | 042_SiteID_ Charlie_ant_front | New mounted antenna or ant worked on (front view)
43 | 043_SiteID_Charlie_ ant_w/connector | Antenna with connector (show weatherproofing)
44 | 044_SiteID_Charlie_ ant Model/ Serial Number | Capture Antenna Model and Serial Number
45 | 045_SiteID_Charlie_ RCU | RET RCU (attached to antenna)
46 | 046_SiteID_Charlie_ RCU Model / Serial Number | RET RCU Model and Serial number
47 | 047_SiteID_Charlie_ mech_DT | Mech Down tilt Measurement (Smart level on back and side of Ant)
48 | 048_SiteID_Charlie_top_jumper | Top jumper (show last support/weather proofing/color coding)
49 | 049_SiteID_Charlie_TMA | TMA (show jumpers connected)
50 | 050_SiteID_Charlie_TMA _grounding | TMA (show grounding)
51 | 051_SiteID_Charlie_top_diplexer | Top diplexer (show jumper connected)
52 | 052_SiteID_Charlie_diplexer_ground | Diplexer grounding (show lead attached to buss bar)
53 | 053_SiteID_Charlie_hard_line | Hard-line (weather proofing/color coding)
54 | 054_SiteID_Charlie_top_buss_bar | Top ground bar (point out new grounds)
55 | 055_SiteID_Charlie_RET_coax_ground | RET coax ground
56 | 056_SiteID_Charlie_RET ground lead | RET ground lead (show RET ground leads attached to buss bar, two hole lugs)
57 | 057_SiteID_Charlie_coax_grounds | Top coax grounds
| Naming configuration | DELTA SECTOR
1001 | 1001_SiteID_Delta_tower | Full view of tower/side of building
1002 | 1002_SiteID_Delta_ant | Front view of antenna face (show full ant array)
1003 | 1003_SiteID_Delta_ LOS | Line of site (back of ant to show direction).
1004 | 1004_SiteID_Delta_ant_front | New mounted antenna or ant worked on (front view)
1005 | 1005_SiteID_Delta_ ant_w/connector | Antenna with connector (show weatherproofing)
1006 | 1006_SiteID_Delta_ ant Model/ Serial Number | Capture Antenna Model and Serial Number
1007 | 1007_SiteID_Delta_ RCU | RET RCU (attached to antenna)
1008 | 1008_SiteID_Delta_ RCU Model / Serial Number | RET RCU Model and Serial number
1009 | 1009_SiteID_Delta_ mech_DT | Mech Down tilt Measurement (Smart level on back and side of Ant)
1010 | 1010_SiteID_Delta_top_jumper | Top jumper (show last support/weather proofing/color coding)
1011 | 1011_SiteID_Delta_TMA | TMA (show jumpers connected)
1012 | 1012_SiteID_Delta_TMA _grounding | TMA (show grounding)
1013 | 1013_SiteID_Delta_top_diplexer | Top diplexer (show jumper connected)
1014 | 1014_SiteID_Delta_diplexer_ground | Diplexer grounding (show lead attached to buss bar)
1015 | 1015_SiteID_Delta_hard_line | Hard-line (weather proofing/color coding)
1016 | 1016_SiteID_Delta_top_buss_bar | Top ground bar (point out new grounds)
1017 | 1017_SiteID_Delta_RET_coax_ground | RET coax ground
1018 | 1018_SiteID_Delta_RET ground lead | RET ground lead (show RET ground leads attached to buss bar, two hole lugs)
1019 | 1019_SiteID_Delta_coax_grounds | Top coax grounds
| Naming configuration | TOWER
58 | 058_SiteID_Top_hard_lines | Hard-lines (show view looking down cable ladder or going into top port)
59 | 059_SiteID_Middle_buss_bar | Middle ground bar
60 | 060_SiteID_Middle_coax grounds | Middle coax grounds
61 | 061_SiteID_Bottom_buss_bar | Bottom tower ground bar
62 | 062_SiteID_Bottom_coax_grounds | Bottom tower coax grounds
63 | 063_SiteID_Bottom_hard_lines | Hard-lines (show view up the cable ladder or going into bottom port)
64 | 064_SiteID_Bottom_port_hole | Tower port (show different angle other than photo 57)
ICE BRIDGE
65 | 065_SiteID_Ice_bridge_from_tower | Ice Bridge (View from tower to shelter)
66 | 066_SiteID_GPS_antenna | GPS antenna
67 | 067_SiteID_GPS_ant_ground_lead | GPS antenna ground lead
68 | 068_SiteID_GPS_ground_lead | GPS ground lead attached to ground bar
69 | 069_SiteID_CN00001_Ice_bridge_to_tower | Ice Bridge/Cable Tray/Ceiling run (View from shelter to tower)
70 | 070_SiteID_A_RET_coax_ground | Alpha RET coax ground
71 | 071_SiteID_B_RET_coax_ground | Beta RET coax ground
72 | 072_SiteID_G_RET_coax_ground | Gamma RET coax ground
73 | 073_SiteID_RET_ ground_leads | RET buss lead (show RET ground leads attached to buss bar, two hole lugs)
74 | 074_SiteID_A_LPD | Alpha LPD (show ground lug attached, one hole lug)
75 | 075_SiteID_B_LPD | Beta LPD (show ground lug attached, one hole lug)
76 | 076_SiteID_G_LPD | Gamma LPD (show ground lug attached, one hole lug)
77 | 077_SiteID_LPD_buss_bar | LPD ground bar (show ground leads, two hole lugs)
| Naming configuration | ROOF TOP
78 | 078_SiteID_ Cable_tray_1 | Cable tray (from ants to BTS, show cable tray with cover)
79 | 079_SiteID_Cable_tray_2 | Cable tray (from BTS to ants, show cable tray with cover)
80 | 080_SiteID_ BTS_frame | BTS frame (show over view of BTS frame)
81 | 081_SiteID_Jumpers | coax/jumpers (show coax/jumpers under frame)
82 | 082_SiteID_Parapet_port | Parapet penetration (show coax port)
83 | 083_SiteID_Ceiling_1 | Interior (ceiling tile removed to show coax run)
84 | 084_SiteID_Ceiling_2 | Interior (ceiling tile removed to show coax run)
85 | 085_SiteID_Ceiling_3 | Interior (ceiling tile removed to show coax run)
| Naming configuration | SHELTER
86 | 086_SiteID_Ext_port_right_side | External Port (right angle shot)
87 | 087_SiteID_Ext_port_left_side | External Port (left angle shot)
88 | 088_SiteID_Ext_buss_bar | External buss bar
89 | 089_SiteID_Int_port_right_side | Internal Port (right angle shot)
90 | 090_SiteID_Int_port_left_side | Internal Port (left angle shot)
91 | 091_SiteID_Int_port_grounding | Internal buss bar under port
92 | 092_SiteID_Main_buss_bar_1 | Main buss bar (over all view)
93 | 093_SiteID_Main_buss_bar_2 | Main buss bar (close up)
94 | 094_SiteID_Cable_rack | Cable rack (show over all view of ceiling cable rack)
95 | 095_SiteID_Log_book | Log book (show log in / log out)
96 | 096_SiteID_From_door | Photo from front door to back / out door site over view
97 | 097_SiteID_To_door | Photo from back to front door / out door site over view
98 | 098_SiteID_Trash_can | Empty trash can
99 | 099_SiteID_Area_under_tower | Area under tower (show area clean, all trash removed)
100 | 100_SiteID_Area_around_building | Area around building (show area clean, all trash removed)
OUTDOOR PAD
101 | 101_SiteID_Pad_1 | Pad (show over all view of pad)
102 | 102_SiteID_Pad_2 | Pad (show over all view of pad)
103 | 103_SiteID_Pad_3 | Pad (show over all view of pad)
104 | 104_SiteID_H-Frame | Utility frame
105 | 105_SiteID_Elec_Brk | Electrical panel (show breaker panel)
106 | 106_SiteID Panel_matrix | Updated electrical panel breaker matrix
107 | 107_SiteID_Cable_tray_1 | Cable tray (from ants to BTS)
108 | 108_SiteID_Cable tray_2 | Cable tray (BTS to ants)
109 | 109_SiteID_Buss_bar_1 | Ground bar
110 | 110_SiteID_Buss_bar_2 | Ground bar
| Naming configuration | EQUIPMENT
111 | 111_SiteID_Diplexers | Diplexers (show with jumpers)
112 | 112_SiteID_Diplexers_grounding | Diplexer grounding
113 | 113_SiteID_Rectifier | Rectifier (view of cabinet)
114 | 114_SiteID_Rectifier_bkts | Rectifier (view showing breakers)
115 | 115_SiteID_Batteries | Batteries (over all view)
116 | 116_SiteID_UMTS cabinet | New cabinet (over all view)
117 | 117_SiteID_UMTS_jumpers_ | Cabinet showing jumpers attached
118 | 118_SiteID_CCU_rack | CCU (show rack containing CCU)
119 | 119_SiteID_CCU_front | CCU (show CCU powered up)
120 | 120_SiteID_CCU_power | CCU (show power lead AC or DC termination, outlet, ADM. Full view )
121 | 121_SiteID_CCU_back | CCU (show grounding with one hole lug)
122 | 122_SiteID_CCU_ground_bar | CCU (show ground lead attached to buss bar)
| Naming configuration | ACCESS
123 | 123_SiteID_Access_to_site | Access road to site/parking lot ect
124 | 124_SiteID_Access_from_site | Access road from site/parking lot ect
125 | 125_SiteID_Door_Access | Door Access
SIGNAGE
126 | 126_SiteID_Site_Sign | Sign on Fence / building / door
127 | 127_SiteID_Tower_ID | ID plate on tower
128 | 128_SiteID_ FCC_Sign | FCC sign
| Naming Configuration | Ericsson QA
129 | 129_SiteID_QC_Checklist | QC Checklist
130 | 130_SiteID_Cabinet_T1_Label | Cabinet T1 Label
131 | 131_SiteID_NIU_T1_Label | NIU T1 Label
132 | 132_SiteID_Cabinet_Base_Plate_Ground_Label | Cabinet Base Plate Ground Label
133 | 133_SiteID_Cabinet_Sub_Base_Plate_Ground_Label | Cabinet Sub Base Plate Ground Label
134 | 134_SiteID_Cabinet_C-Tap_To_Main_Ground_Ring | Cabinet C-Tap To Main Ground Ring
135 | 135_SiteID_Cabinet_Battery_Strap | Cabinet Battery Strap
136 | 136_SiteID_Power_Breaker_Label | Power Breaker Label
137 | 137_SiteID_Cabinet_AC_Power_To_ACCU_Label | Cabinet AC Power to ACCU Label
138 | 138_SiteID_Cabinet_Jumper_To_RRU | Cabinet Jumper to RRU
139 | 139_SiteID_Cabinet_Overview | Cabinet Overview

## Sheet2
Comment
Cannot Verify Photo
Photo Number does not Match Category